## Slide 1: Renewable Energy Practice in Indiana
Bill Hutzel, P.E.
Professor of Mechanical Engineering Technology
Purdue University
Presented to:
Farm Policy Study Group
July 7, 2020

## Slide 2: Applied Energy Laboratory (AEL)
Thermodynamics
Building Automation
Indoor Air Quality (IAQ)
Net Zero Energy Buildings
8 kW solar array

## Slide 3: Energy Trends - Electricity
Energy use (Btu/ft2) in buildings is declining
Utility rates are increasing
Installed cost of solar is decreasing
Source: LBNL “Tracking the Sun”

## Slide 4: Benefits of DER (Distributed Energy Resources)
Grid Independence / Security
Resilience
Environmental
Cost Savings?

## Slide 5: Challenges of DER (Distributed Energy Resources)
Public Acceptance
Operation & Maintenance
First Cost / Risk
Grid Interactions
Municipality Interactions
  Permitting, Inspections, Emergency Response

## Slide 6: Economics of Solar
First Cost – on the order of $2.50 / Watt
Incentives
  Federal – 30% tax credit being phased out
  State – property tax exemption
  Utility - varies
Financial impact for Indiana
  10 to 15 year payback
  7 to 10% ROI

## Slide 7: Indiana Net Metering
Net metering is the agreement that requires utilities to buy DER
Many states tie net metering rates to the retail cost of electricity
Indiana ties net metering rates to the cost of generation
DER OWNERS SHOULD USE ALL OF THE ELECTRICITY THEY GENERATE

## Slide 8: Case Study James Cole Elementary
2nd Place Finish in 2020 Competition

## Slide 9: Motivations for Net Zero Energy
INTRODUCTION
Energy efficiency upgrades help finance the solar energy
Increasing sustainability education
Reasonable financial ROI
TSC’s electric rates increase by 16% next year!
Model for school renovations
Disaster recovery center
Mindfulness
Notes: 5 mins

## Slide 10: Resilience
ENERGY
ENGINEERING
FINANCIAL FEASIBILITY
OPERATIONS
IEQ
INNOVATION
ARCHITECTURE
MARKET POTENTIAL
Event | Likelihood
Power Loss | Medium
Severe Storm / Tornado | Medium
Fire | Low
Flood | Low
Global Flu Pandemic | Very Low
2013 Tornado at TSC’s Southwestern Middle School

## Slide 11: Solar Options for Schools
Owner-operated
  ESCO provides design, installation, and maintenance contract for energy efficiency and solar upgrades
  Solar installation financed by a school bond
  Achieves highest ROI for school
  School assumes risk for solar array
3rd Party ownership
  Outside party provides design, installation, and operation
  School gets a discount on its energy bill
  School assumes essentially none of the risk
  Duke Energy Indiana has a pilot program for this type of work

## Slide 12: Coordinating with the Area Planning Commission
Local resistance to wind farms
New ordinance essentially prohibits wind turbine installations in Tippecanoe County due to expectations for growth
Discussions underway about implications for solar

## Slide 13: Energy Efficiency Payback
ENERGY
ENGINEERING
RESILIENCE
OPERATIONS
IEQ
INNOVATION
ARCHITECTURE
MARET POTENTIAL

## Slide 14: Solar Energy Payback
ENERGY
ENGINEERING
RESILIENCE
OPERATIONS
IEQ
INNOVATION
ARCHITECTURE
MARET POTENTIAL

## Slide 15: Further Information
Applied Energy Laboratory
https://polytechnic.purdue.edu/facilities/applied-energy-laboratory
Bill Hutzel
765-494-7528
hutzelw@purdue.edu